| Site: |  | Contract Number: |  |
| --- | --- | --- | --- |
| Assessed by: | Name: |  | Position: |  | Date: |  |
|  | Signed: |  |  |
| Description Of Work: | Cutting openings in horizontal surfaces of a structure. |
| Task / Job Component | Hazard | Persons at risk | Risk Rating L/M/H | Controls / Precautions to Reduce Risk | Residual Risk Rating L/M/H |
| Forming holes in floor slabs. | Manual Handling. | Demolition workers, machine operators, unauthorised visitors. | H | Training in safe manual handling techniques. Provide clear access routes to work areas. Removal of large blocks of material by machinery. Provide means of attachment to waste materials and mechanical handling. Provide rubbish chutes to dispose of waste materials or skips on wheels suitable for moving for forklift. Provide wheelbarrows. | L |
|  | Dust. | Demolition workers, machine operators, unauthorised visitors. | H | Controlled wetting of the surfaces exposed. Safety glasses or goggles. Use dustless equipment, i.e. fitted with extractors. Forced air movement. Consider alternative methods of cutting which produce less dust such as wet cutting diamond chainsaw. Respirators to be worn | L |
|  | Fall of material. | Demolition workers, machine operators, unauthorised visitors. | H | Provide scaffolding and erectors inspect Establish and police exclusion zones, install scaffold fans and debris netting. Install temporary support below. Suitability strengthened internal floors, propped if necessary. | L |
|  | Electrocution. | Demolition workers, machine operators, unauthorised visitors. | H | Suitably protected v supplies and frequent user inspection and portable appliance testing. Use air tools. Use of battery equipment | L |
|  | Noise. | Demolition workers, machine operators, unauthorised visitors. | H | Provision and enforced wearing of high quality ear defenders when above 85dB(A) Use low noise and remote cutting or breaking equipment, e.g. diamond chain saws. Use machine mounted tools if feasible. | L |
|  | Contact with services. | Demolition workers, machine operators, unauthorised visitors. | H | Carry out physical survey to identify locations of all services. Remove prior to work commencing, obtain certificate of isolation or disconnection where appropriate or provide sturdy temporary protection. | L |
|  | Asbestos | Demolition workers, machine operators, unauthorised visitors. | H | Carry out pre-demolition/refurbishment survey. Asbestos awareness training and emergency plan. Removal by licensed contractor. | L |
|  | Unauthorised access. | Demolition workers, machine operators, unauthorised visitors. | H | Install temporary covers. Security fencing. Specially designed decking below the hole to be cut. Exclusion signs and information during site induction for all persons entering the site.. | L |
|  | Slips, trips and falls. | Demolition workers, machine operators, unauthorised visitors. | H | Provide safe access routes. Good housekeeping Edge protection where there is a risk of falls at edges or openings. Good lighting. Safety footwear. | L |
|  | Collapse of structure. | Demolition workers, machine operators, unauthorised visitors. | H | Supervision and carrying out of the work by suitable, experienced and component persons. Calculations by engineer and site inspection. Planned sequence of operations, drawings and manufacturer’s instructions for any temporary support and system for transfer of demolition materials to minimise surcharges to structure. Inspection before and during use of any support equipment. | L |
|  | Falls from height or through fragile materials. | Demolition workers, machine operators, unauthorised visitors. | H | Maximise the use of remote cutting techniques. Install and maintain edge protection an working platforms or work from mobile elevated work platforms (MEWPS) with safety harness. Identify unsafe areas by signs and barriers and provide designed crash decks below and temporary propping at all lower levels in accordance with engineer’s assessment of surcharges. | L |
|  | Vibration White finger (VWF) | Demolition workers, machine operators, unauthorised visitors. | H | Provide system for monitoring health of operatives when above daily exposure 2.5m/s2 Use modern low vibration well maintained equipment, keep hands warm, and avoid smoking. Use machine mounted tools If feasible. | L |
|  | Explosion. | Demolition workers, machine operators, unauthorised visitors. | H | Safe area for storage of any gas and use of gas cutting gear by trained persons only with flashback arrestors and non-return valves with bottles secured against tampering and fall. Where possible remove and store in a well ventilated, secure cage outside of working. | L |
|  | Dermatitis. | Demolition workers, machine operators, unauthorised visitors. | M | System for monitoring skin condition, wearing gloves or waterproof barrier cream. | L |
| Site-specific Activities | Additional Site–specific Hazards | Persons at risk |  | Additional Controls Required |  |

# Likelihood

How often could the hazard occur? Consider the task, frequency, duration, method of work, employees involved.

# Severity

# How serious would the hazard’s effects be if

realised? Consider the type of hazard, biological, ergonomic, physical and chemical.

# Risk = Likelihood x Severity

E.g. Likelihood (4) X Severity (3) = 12 HIGH RISK